REG : T011/304596/2025

NAME : ALICIA MULI

DOCUMENTATION

1.INTRODUTION

BACKGROUND OF THE PROMBLEM

Water utilities and residential property owners suffer huge financial losses and structural damage due to hidden or delayed pipe burst and slow water leaks .Traditional leak detection relies on visible flooding or abnormal monthly utility bills, meaning leak often run for days or weeks before discovery.

PURPOSE OF THE SYSTEM

The proposed system uses IoT flow sensors and moisture detectors to monitor water networks in real time. It automatically alerts users and shuts off main valves when abnormal flow or leaks are detected, preventing property damage and conserving water resources.

2.OBJECTIVES

GENERAL OBJECTIVE :To design and implement a real – time automate water leakage detection and mitigation system that minimizes water wastage and property damage.

SPECIFIC OBJECTIVE:

1. To monitor continuous water flow rates and detect  anomalies  within 3 seconds.

2 .To send instant push notifications and SMS alerts to users upon leak detection.

3. To enable remote or automatic emergency water shut-off via a smart motorized valve

.3.USER OF THE SYSTEM

HOMEOWNER/PROPERTY MANAGER : Monitors overall water status ,receives alerts, and reviews water consumption history.

PLUMBER/MAINTAINANCE TECHNICIAN : Receives specific repair tickets, views exact leak coordinates or sensors IDs and updates repair status.

SYSTEM ADMINISTRATOR: Manages user accounts , configures sensors thresholds, and maintains system sever health.

4.FUNCTIONAL REQUIREMENTS

1.The system shall read real – time data input from connected second.

2. The system shall trigger an automatic emergency shut-off  valve  when continuous leakage is confirmed.

3. The system shall send an instant alert notification (SMS and mobile push) to the registered user.

4. The system shall provide a dashboard displaying historical water consumption data and graphs.

5 The system shall allow administration to register , update, or remove sensors nodes and user profiles .

5.NON-FUNCTIONAL REQUIREMENTS

1 PERFOMANCE : The system must process sensor data and issue leak alerts within a 3-second latency threshold.

2 RELIABILITY : The system must maintain 99.9% uptime with local fail-safe battery backup during power outages.

3 SECURITY: All data transmitted between IoT   sensors  and the cloud sever must use AES-256 encryption.

4 SCALABILITY: The architecture must support adding up to 5,000 concurrent sensors nodes without performance degradation .

5 USABILITY: The mobile and web dashboard must feature a responsive design navigable within 3 clicks for core tasks.

6.USER PERSONA

Persona 1 : Mary (Homeowner)

- Age: 38.

- Occupation : Accountant.

- Goal: Keep her house safe from flooding while at work.

- Challenges : Low technical patience; worries about expensive water bills.

- Technical skills: Moderate (uses smartphones apps daily).

- Expectations : Clear visual alerts and simple one – tap valve control on her phone.

Persona 2: John (Maintenance Plumber)

- Age : 45.

- Occupation : Senior Plumber.

- Goal : Locate sources quickly with accurate location details.

- Challenges: Hard to find hidden pipes leaks behind walls without tearing them down.

- Technical skills : Basic to moderate (uses field – service mobile apps).

Persona 3: David(System Administrator)

- Age: 29.

- Occupation : IT Support Specialist.

- Goals : Ensure uninterrupted sensor communication and database integrity.

- Challenges : Handling false – positive alarms triggered by high water pressure spikes.

- Technical skills : Advanced (database management , networking).

- Expectations : Comprehensive logs , configuration settings  and diagnostic.

7.USER STORIES

- “As a homeworker , I want to receive an instant push notification when a leak is detected so that I can prevent structural damage to my house.”

- “As a plumber , I want to view the precise location of a pipe failure so that I can fix the exact problem area immediately.”

- “As an administrator , I want  to adjust sensor sensitivity thresholds so that I can false – positive water alerts.”

8.SYSTEM DIAGRAMS

- Flowchart Diagram

- Use Case Diagram

- Decision Tree Diagram

- Decision Table Diagram

9.SOFTWARE DEVELOPMENT LIFE CYCLE (SDLC)

- Selected Model: Agile SDLC Model.

- Justification : The water leakage system involves both hardware (IoT sensors) and software (cloud/mobile apps) components that benefit  from iterative testing and continuous feedback . Agile allows the team to develop core monitoring features in short sprints , test sensor integrations incrementally , and refine alert accuracy and user interface designs based on real – world stakeholder feedback before final deployment.

FLOWCHART :

START: sensor polling

Fetch Flow Rate & Moisture

Is data? >threshold?

e

Branch: leak Detected

YES

Execute : Alert/Shut - off

NO

Log Event Data

Branch : Normal

e

Close Main Valve

Send App Notification

STOP

END

2.USE CASE DIAGRAM

System Boundary: Smart     Leak      Detection    Core

(Homeowner)	(Monitor Flow & Moisture)

(Send Emergency Alert)

(Shut Smart Valve Manually)

(Plumber)	(View System Health Logs)

(Admin)	(Generate System Reports)

(Override Valve Controls)

3.DECISION TREE

[Evaluate Flow & Duration]

[Duration ≤ 5 mins]	[Duration > 5 mins]

[Volume :Low /Med]         [Volume : Critical]

[Volume : Low]                       [Volume : High]

(Slow Drip /Leak)     (Major Pipe Burst)

(Normal Usage)                      (Temporary Spike)

4.Decision Table

| Conditions | Rule 1 | Rule 2 | Rule 3 | Rule 4 |
| --- | --- | --- | --- | --- |
| Flow Rate > Normal | NO | Yes | NO | Yes |
| Morning Detected | NO | NO | Yes | Yes |
| Duration > 5 mins | NO | Yes | Yes | Yes |
| Actions |  |  |  |  |
| Log System Event | X | X | X | X |
| Send Push Notification |  | X | X | X |
| Shut Off Main Water Valve |  |  |  | X |